## Slide 1: Deviations to Beers Law
Chemical:
  1.) In sufficiently high concentrations of solution, adjacent molecules are close enough that absorption by 1 molecule affects the charge distribution of its neighbors

## Slide 2: Deviations to Beers Law
2. Refractive Index
3. Equilibrium considerations

## Slide 3: Instrumental Deviations
1. Polychromatic radiation

## Slide 4: Instrumental deviations to Beers Law continued
2. Stray radiation