## Slide 1: Simple trusses
A truss structure is composed of slender members joined together at their end points
Members are commonly wooden struts, metal bars or structural members
Joint connections are formed by bolting or welding the ends of the members to a common plate (gusset plate) or by simply passing a large bolt or pin through each of the members
Planar trusses lie in a single plane (often seen supporting roofs and bridges), 2-D analysis of forces appropriate

## Slide 4: Method of joints
If a truss is in equilibrium, then each of its joints must also be in equilibrium
The method of joints consists of satisfying the equilibrium conditions for the forces exerted “on the pin” at each joint of the truss
Truss members are all straight two-force members lying in the same plane
  The force system acting at each pin is coplanar and concurrent (intersecting)
  Rotational or moment equilibrium is automatically satisfied at the joint, only need to satisfy ∑ Fx = 0, ∑ Fy = 0

## Slide 5: Method of joints – Procedure for analysis
Draw the free-body diagram of a joint having at least one known force and at most two unknown forces (may need to first determine external reactions at the truss supports)
Establish the sense of the unknown forces
  Always assume the unknown member forces acting on the joint’s free-body diagram to be in tension (pulling on the “pin”)
  Assume what is believed to be the correct sense of an unknown member force
  In both cases a negative value indicates that the sense chosen must be reversed

## Slide 6: Method of joints – Procedure for analysis (continued)
Orient the x and y axes such that the forces can be easily resolved into their x and y components
Apply ∑ Fx = 0 and ∑ Fy = 0 and solve for the unknown member forces and verify their correct sense
Continue to analyze each of the other joints, choosing ones having at most two unknowns and at least one known force
Members in compression “push” on the joint and members in tension “pull” on the joint
Mechanics of Materials and building codes are used to size the members once the forces are known

## Slide 7: Zero-force members
Truss analysis using the method of joints is greatly simplified if one is able to determine those members which support no loading (zero-force members)
These zero-force members are used to increase stability of the truss during construction and to provide support if the applied loading is changed
If only two members form a truss joint and no external load or support reaction is applied to the joint, the members must be zero-force members, SHOW
If three members form a truss for which two of the members are collinear, the third member is a zero-force member provided no external force or support reaction is applied, SHOW
EXAMPLES (pg 287)

## Slide 8: Method of sections
Based on the principle that if a body is in equilibrium, then any part of the body is also in equilibrium
Procedure for analysis
  Section or “cut” the truss through the members where the forces are to be determined
  Before isolating the appropriate section, it may be necessary to determine the truss’s external reactions (then 3 equs. of equilibrium can be used to solve for unknown member forces in the section)
  Draw the free-body diagram of that part of the sectioned truss that has the least number of forces acting on it
  Establish the sense of the unknown member forces
  Apply 3 equs. of equilibrium trying to avoid equations that need to be solved simultaneously
    Moments should be summed about a point that lies at the intersection of the lines of action of two unknown forces
    If two unknown forces are parallel – sum forces perpendicular to the direction of these unknowns
EXAMPLES (pg 298)

## Slide 9: Frames and machines
Structures are often comprised of pin-connected multiforce members
Frames are generally stationary and are used to support loads
Machines contain moving parts and are designed to transmit and alter the effect of forces
Can apply the equations of equilibrium to each member of the frame or machine to determine the forces acting at the joints and supports (assuming the frame or machine is properly constrained and contains no more supports or members than are necessary to prevent collapse)

## Slide 10: Frames and machines – procedure for analysis
Construct applicable free-body diagrams
  Draw an outline of the shape
  Show all forces or couple moments that act on the part
  Indicate dimensions needed for determining moments
  Identify all two-force members in the structure
    All loadings are applied at the joint
    Members are joined together by smooth pins
    Members have two equal but opposite forces acting at their points of application
    The line of action of the forces are along the axis of the members
  Forces common to any two contacting members act with equal magnitudes but opposite sense on the respective members
Apply the equations of equilibrium
EXAMPLES (pg 325)