Chemistry 213

Experiment 7

Determining Water Hardness by EDTA Titration

LEARNING OBJECTIVES

The objectives of this experiment are to . . .

- Determine the total hardness (total calcium and magnesium ion concentration).

- Learn how to titrate with EDTA solution.

- Determine permanent hardness and the temporary hardness.

BACKGROUND

Do you know if you have hard or soft water at home?  Water containing high concentrations of Ca2+, Mg2+, Fe2+, or Fe3+ ion is called hard water.  Ca2+ and Mg2+ are the most common sources of hardness in water. The source of drinking water in the Southeast Minnesota is the bedrock aquifers consist of limestone and dolomite.  Limestone contains calcium carbonate and dolomite contains calcium magnesium carbonate.  When dissolved in water, the ions from the stones increase the hardness of water.

Ca2+ and Mg2+ ions react with soap to form a precipitate (a soap scum or a “bathtub ring”) which sticks to sinks, bathtubs, and fabrics.  They can form large amounts of insoluble calcium carbonate, magnesium carbonate, and iron(III) carbonate when heated and form scale inside pipes, teakettles, and water heaters.  Scale buildup can impede water flow.  Water softening using ion exchangers can remove the hard water ions to produce soft water.   Soft water produced by ion exchangers contains sodium ions (Na+) instead.

Total hardness refers to the total concentration of Ca2+ and Mg2+ ions in the water.  The temporary hardness refers to the amount of Ca2+ and Mg2+ ions that can be removed as insoluble carbonates by boiling the water.

Ca2+ (aq) + 2HCO3-(aq)  -> CaCO3 (s) + H2O (l) + CO2 (g)

Mg2+ (aq) + 2HCO3-(aq)  -> MgCO3 (s) + H2O (l) + CO2 (g)

Permanent hardness refers to the amount of Ca2+ and Mg2+ ions remaining in the water after removal of temporary hardness.  Total hardness is the sum of permanent hardness and temporary hardness.

We can determine the total amount of Ca2+ and Mg2+ ions in water by titrating a water sample with a standardized EDTA solution.  EDTA forms strong 1:1 metal-EDTA complex with Ca2+ and Mg2+ ions.  The indicator used in the titration is Calmagite indicator which is red/magenta in the presence of free Ca2+ and Mg2+ ions and blue in their absence.

Structure of EDTA (ethylene diamine tetraacetate)

Structure of Metal-EDTA complex

We commonly report water hardness as milligrams of CaCO3 per liter of water or ppm.  Therefore, we calculate the number of millimoles of EDTA used in titration and convert it to the number of millimoles of Ca2+ and Mg2+ ions (it is a 1:1 reaction).  Then it is converted to milligrams of CaCO3.  Following table shows the classification of hard/soft water. Calculations:  Hardness is also expressed in grains per gallon (gpg) or, simply, grains.  One grain is equal to 0.0648 g.  The hardness value in grains represents the number of grains of CaCO3 per gallon of water.  The conversion factor of: 1 gram/liter = 58.41783 grains/gallon or 1 grain/gallon = 17.1 ppm can be used to find the grain hardness value for your water samples.  We will use milligrams of CaCO3 per liter (ppm) in today’s lab.

| Table I. Classification of water hardness (hardness as calcium carbonate). |
| --- |
| Classification | mg/L or ppm | grains/gal |
| Soft | 0 - 17.1 | 0 - 1 |
| Slightly hard | 17.1 - 60 | 1 - 3.5 |
| Moderately hard | 60 - 120 | 3.5 - 7.0 |
| Hard | 120 - 180 | 7.0 - 10.5 |
| Very Hard | 180 & over | 10.5 & over |

Example: A student used 11.35 mL of 0.0100 M EDTA solution to titrate 25.00 mL of the sample water.  Report the hardness in milligrams of CaCO3 per liter of the sample (or ppm).  What is the classification of the water sample (soft, slightly hard, moderately hard, etc.)?

millimoles of EDTA required  = 0.0100 M  0.01135 L  1000 mmol/mol = 0.1135 mmol

millimoles of Ca2+ in 25 mL = millimoles of EDTA required = 0.1135 mmol

milligrams of CaCO3 in 25 mL= mmol of Ca2+  molar mass of CaCO3 = 0.1135 mmol  100 mg/mmol  = 11.35 mg

mg of CaCO3 in 1 L = 11.35 mg  = 454 mg CaCO3/L

According to the classification of water, this sample is very hard (over 180 ppm).

SAFETY PRECAUTIONS

The fumes from the NH3/NH4Cl buffer at pH 10 are toxic, corrosive, and irritating.  Dispense under a fume hood.  Wash hands thoroughly before leaving the lab.

EXPERIMENTAL PROCEDURE

Total Hardness of the Water Sample

- Pipet 25 mL of the water sample into a 125 mL Erlenmeyer flask.  Add 1 mL of pH 10 buffer and 5 drops of calmagite indicator.

- Titrate the water sample with EDTA solution until the color changes from magenta to blue.  Near the end point, add EDTA dropwise.  Record the volume.

- Repeat this two more times.

- Prepare a control sample and titrate as shown above.  Use a 25 mL sample of distilled water as your control.  Repeat two more times.

Permanent Hardness

- Transfer a 100 mL water sample into a 250 mL beaker.  Gently boil the water for 15 minutes.  Allow the boiled water to cool to room temperature.

- Filter the water directly into a clean 100 mL volumetric flask.  Rinse the inside wall of the beaker twice with 1 mL portions of distilled water each time.  Filter the rinses into the volumetric flask.  Fill the volumetric flask to the mark with distilled water.  Mix the sample by inverting the flask several times while holding the stopper firmly in place.

- Pipet 25 mL of the filtered sample into a flask and add 1 mL of pH 10 buffer and 5 drops of calmagite indicator.

- Titrate the water sample with EDTA solution until the color changes from magenta to blue.  Near the end point, add EDTA drop-wise.  Record the volume.

- Repeat this two more times.

Data Analysis

- For each analysis, calculate the millimoles of EDTA required for titration and average the results.

- For the determination of the total hardness, report the milligrams of CaCO3 per liter of the water sample.

- For the determination of the permanent hardness, report the milligrams of CaCO3 per liter of the water sample.

- The temporary hardness is the total hardness minus the permanent hardness.

## Determining Water Hardness by EDTA Titration

Names ____________________ Date __________________

Data Sheet

Source of water sample 	__________________

Concentration of EDTA, M 	__________________

Total Hardness of the Water Sample

Volume of water sample titrated, mL		__________________

Trial#						1		2		3

Volume of EDTA required, mL		________	________	________

Number of mmol of EDTA, mmol		________	________	________

Number of mmol of Ca2+, mmol		________	________	________

Total hardness, mg CaCO3 in L sample	________	________	________

Average Total Hardness, mg CaCO3/L	________

Classification of your water sample		_______________

Total Hardness of Distilled Water (Control)

Volume of distilled water sample titrated, mL__________________

Trial#						1		2		3

Volume of EDTA required, mL		________	________	________

Number of mmol of EDTA, mmol		________	________	________

Number of mmol of Ca2+, mmol		________	________	________

Total hardness, mg CaCO3 in L sample	________	________	________

Average Total Hardness, mg CaCO3/L	________

Classification of distilled water		_______________

Permanent Hardness of the Water Sample

Volume of water sample titrated, mL		__________________

Trial#						1		2		3

Volume of EDTA required, mL		________	________	________

Number of mmol of EDTA, mmol		________	________	________

Number of mmol of Ca2+, mmol		________	________	________

Permanent hardness, mg CaCO3 /L		________	________	________

Average Permanent Hardness, mg CaCO3/L	________

Temporary Hardness of the Water Sample

Temporary Hardness, mg CaCO3 /L= Total – Permanent Hardness		______________

## Determining Water Hardness by EDTA Titration

Name ____________________

Section___________________

### Date_____________________

Pre Laboratory Assignment

- What is the purpose of this experiment?

- Distinguish between permanent and temporary water hardness.

- A student used 6.05 mL of 0.0100 M EDTA solution to titrate 25 mL of the sample water.  Report the hardness in milligrams of CaCO3 per liter of the sample.  What is the classification of the water sample (soft, slightly hard, moderately hard, etc.)?