Laboratory #2-Using The Microscope

Introduction:  The basic unit of biology of Biology is the cell.  Cell Biologists want to study how the cell works, and how it adapts to its environment.  Additionally, Cell Biologists may also wish to study important structures within the cell, including organelles, and large protein complexes.  One critical tool Cell Biologists use to study cells, as well as structures inside the cell is the microscope.  We use the microscope because most cells and almost all cellular structures are not able to be seen with the naked eye.  Furthermore, many cells are transparent, and lack appropriate contrast.  Therefore, Cell Biologists must use dyes that specifically label different structures within the cell, such that they can easily be seen.

Experimental Objectives: To study similarities and differences (including size, shape and intracellular composition) between a variety of different cell types, using Phase Contrast Microscopy.

Learning Objectives:

1. Learn how to use the Phase Contrast Microscopes

2. Learn how to interface the microscope with your laptop such that you can take pictures using your laptop.

3. Learn to take images of pre-prepared slides

4. Learn how to stain cells, and view them under the microscope.

5. Learn to analyze images you have taken using the microscope

The Microscope:

Most cells, as previously discussed, are too small to be seen with the naked eye, and thus we use a microscope to visualize them.  The ability to see cells was first made available in the seventeenth century, with the invention of the light microscope.  Robert Hooke was one of the first Biologists to use the microscope in 1665, when he used it to visualize cork.  Upon examination he saw little chambers, which he called cells.  As it turns out, he was really just examining the left over cell walls, after the actual cells had died.  Light microscopes use visible light, as well as a series of lenses to illuminate specimens and magnify specimens.  Many light microscopes also have special filters to better enhance the contrast between cellular structures, such that a better image is captured.  Light microscopes generally have a maximum magnification of 1000X.  Electron Microscopes were invented in the 1930s, and use electron beams instead of visible light and lenses to magnify and visualize specimens.  Consequently, electron microscopes are able to magnify images to a much greater extent than light microscopes and with greater resolution.

Since its invention in the seventeenth century, the light microscope remained an instrument with little useful purpose for Biology.  It was not until the late 19th century that the microscope was used in the Biology laboratory.  In the late 1830’s, Scheidlin, a Botanist, and Schwann, a Zoologist, investigated both plant and animal tissues using a light microscope.  They showed that both plants and animals contained cells.  They further surmised that the cell was the initial building block of all living tissues.  Their work, along with the work of other Biologists also led to the realization that all cells are produced by division of existing cells.  This led to the Cell Theory of Biology, in which living organisms and tissues do not arise spontaneously, but are generated by cellular division.  As a matter of fact, this is the beginning of the field of Cell Biology.

In this laboratory, you will be using a Phase Contrast Microscope.  Phase contrast microscopy uses a specific filter to enhance and amplify slight changes in the phase of transmitted light as it passes through your specimen.  In other words, the phase contrast filter will act to accentuate the contrast between different structures within your specimen, as transmitted light passes through it.

Materials:

1. Microscopes (Phase Contrast) w/ camera

2. Sample Slides

a) Frog RBC

b) Adipose RBC

3. Finger Pricks

4. Sterile Wipes

5. Clean New Frosted Slides

6. Unfrosted Slides

7. Coverslips

8. Wright’s Stain

9. Phosphate Buffer

10. Rabbit Embryonic Kidney Cells

11. Forceps

12. Distilled water beaker

13. Laptop

14. Pixelink Software-To obtain Pixelink:

a) go to your start menu

b) click on Run (Lower Right Hand corner of Start Menu)

c) Enter \\BioWebSrv\Pixelink\

d) Double Click on Setup

e) Install Software before connecting to camera

15. Scion Image (Image Processing Software).  Go to http://www.scioncorp.com/  Then follow the links to download Scion Image.

Microscopy Laboratory Protocol and Worksheet:

1. Obtain Prepared Slides of Frog Red Blood Cells, Adipose Cells and a slide micrometer (Ruler).

2. Place the slide micrometer on the stage, and take a picture of the micrometer at 400X.  Note: Each hash is .01 mm (or 10 um).  This picture of your ruler will work for measuring all images that are taken at 400X.

3. Choose on of either the Frog RBC or Adipose slides and place on stage.  Use the Microscope to get the cells in focus at 400X.  Once you have the cells in focus at 400X take several pictures and save to your hard drive.

4.  Measure the diameter of 10 cells on the slide.  Place the measurements in a table in Excel.  Calculate the average diameter, and standard deviation using Excel (To do this for cells A1-A6 use =Average (A1:A6 etc.) or = St. dev. (A1:A6 etc.) functions.  See tips at the end of the lab materials).

5.  Draw and label what you have just seen under the microscope.  All images you see under the microscope are in 2 dimensions.  I.e. you are viewing the X and Y axis.  Therefore, for the XY drawing it should look exactly like what you saw.  However, just like everything in the real world, cells are also 3 Dimensional and have depth.  The microscope images you see do not encompass this.  However, if you focus up and down through your cells you can get an idea of what the depth axis (Z-axis) look like.

Frog Red Blood Cells

XY axis					XZ axis

6. Now take the other slide, and do the same as you did for #5.

Adipose Cells

XY axis					XZ axis

7. Now it is your turn to learn how to properly stain cells.  One problem Cell Biologists have in viewing cells is that there still may not be enough contrast to properly see structures inside the cell.  This may be true even when using the Phase Contrast Filter.  Therefore, Cell Biologists choose to stain either whole cells or certain structures within the cell.  Cell Biologists can stain cellular structures using dyes or they can use antibodies to specific proteins that contain fluorescent tags.

Today, we will stain your blood cells with Wright’s stain.  Cell Biologists and Histologists use this stain to differentiate between different types of cells in the blood (see subsequent paragraph for description).  This stain is a mixture of methylene blue, methylene azure and eosins.  The azures act as bases, and therefore stain acidic structures in the cell blue (e.g. DNA).  The eosins act as acids, and therefore, stain basic structures in the cell red.  Since the cytoplasm contains many basic structures, the cytoplasm will stain a pinkish/red color.

Human blood contains many different cell types.  These include erythrocytes, or red blood cells and leukocytes, white blood cells.  The erythrocytes are the most numerous cell type in the blood, and make up about 99% of total blood cells.  Erythrocytes contain hemoglobin and function to transport oxygen to all tissues in the body.  In mammals, these cells lose their nuclei during erythrocyte development.  In lower vertebrates, i.e. birds, fish, reptiles etc., the nucleus is not lost during erythrocyte development.  Leukocytes, or white blood cells, make up only 1% of blood cells, but perform the incredibly important function of fighting off infection.  These cells consist of granulocytes, which contain large cytoplasmic granules which will stain bright blue with Wright’s stain.  In your smears, you will most likely see a few of these.  Cells that are classified as granulocytes are neutrophils, eosinophils and basophils.  The agranulocytes contain no granules, and include lymphocytes and monocytes.  These cells will appear larger than erythrocytes and contain nuclei.  Unless someone in your group is sick, you might not even see one of these.

Wright’s Stain Procedure:

1. Obtain one degreased frosted slide, and one unfrosted slide.

2. Obtain a finger prick

3. Wash your finger using an ethanol pad

4. Prick your finger, and let one drop of blood fall on the degreased, frosted slide (frosted side up)

5. Take the plain slide and smear blood as demonstrated in the figure below.  Be sure your smear is as thin as possible.  The thinner it is, the easier it will be for you to view individual cells

6. Allow the blood on your slide to dry on paper towels at your bench

7. Add enough Wright’s Stain to cover your entire smear.  This should be roughly be anywhere from 20-30 ul.

8. Wait 2 minutes for the stain to react with intracellular structures

9. Add 20-30 ul of 0.1 M K-Na Phosphate Buffer (pH=6.5) to the stain, and incubate 4 mins.  The buffer acts to wash away excess stain.  This will give your cells more contrast.  Thus, you will get a nice clear picture of your cells.

10.  Using forceps, dip the slide in distilled water to rinse.  The distilled water is in a beaker, near the sink, in the back of the room.

11. Place the blood smeared in a vertical position and allow the slide to dry.  This should take no longer than 5 mins.

12. Capture oil immersion images (use the 100X Objective) of the various cell types you see.

XY axis					XZ axis

13. Measure the diameter of 10 erythrocytes, and 1-2 granulocytes.  Be aware that the previous ruler image you took was at 400X (Using the 40X Objective).  You took your blood cell pictures at 1000X (using the 100X objective).  Therefore, you need to take a picture of the ruler at 1000X.  Record your measurements in an excel spreadsheet, and calculate the average diameter and standard deviation.

14. Obtain a slide of Rabbit embryonic kidney cells.

15. Get the cells in focus at 400X (use the 40X objective)

16. Take 2-3 images of your cells

17. Take measurements of 10-12 cells.  Calculate the average diameter and standard deviation.