## Slide 1: Mass Spectrometry
Instrumentation:
Ionization methods and analyzers

## Slide 2: Parts of an MS

## Slide 3: Ionization Methods
EI
CI
FD
FAB
MALDI
ES

## Slide 4: EI (and CI)

## Slide 5: EI vs CI

## Slide 6: FD
http://en.wikipedia.org/wiki/Field_desorption
High voltage applied to metal emitter with carbon microneedles (after sample applied)

## Slide 7: EI vs CI vs FD

## Slide 8: FAB (LSIMS is similar)
http://www.chm.bris.ac.uk/ms/newversion/fablsims-ionisation.htm
Fast particle beam (Ar or Ne or Cs) impinged on sample in a matrix. Analyte ions are ejected from the surface.

## Slide 9: FAB HRMS
MW = 378.08

## Slide 10: MALDI
http://www.magnet.fsu.edu/education/tutorials/tools/ionization_maldi.html
Sample in a matrix (e.g., nicotinic acid) that absorbs light is zapped with a laser beam of corresponding wavelength. The photoexcited matrix ejects analyte ions from the surface.

## Slide 11: ES (or ESI)
Sample in solution at atmospheric pressure forms small droplets which move toward analyzer and become smaller as solvent evaporates. Eventually they become too small and explode releasing individual analyte ions in solution.

## Slide 12: ESI vs EI

## Slide 13: ESI of a protein

## Slide 14: Summary

## Slide 15: Analyzers
Magnetic Sector
Quadrupole
Ion Trap
TOF
FT

## Slide 16: Magnetic Sector

## Slide 17: Magnetic Sector
K.E. = zV = mv2/2
Deflecting force = Bzv
Radius of path (r): Bzv = mv2/r
m/z = B2r2/2V

## Slide 18: Quadrupole

## Slide 19: Ion Trap

## Slide 20: TOF
K.E. = zV = mv2/2
All ions have same energy at start of “drift tube” so velocities are different:
v = (2zV/m)1/2
Tube length = L
Time of flight (t) = (L2m/2zV)1/2

## Slide 21: Summary of Analyzers